Hoist safety inspection record
Hoist make: …..……………………….……      Model: …………………………………
Serial no: …………………..….…………          Is hoist clearly CE marked:  YES / NO 


SWL: ………………………………..……. 
         Date of manufacture: …….….…………
	Please carry out the following checks and record details of any faults

	Areas to inspect
	Key: 
S = satisfactory 

           F = faulty requires repair

	Inspection/service labels: 6 monthly inspection up to date
	

	Wheels: secure, good condition, free moving

 
	

	Brakes: work properly


	

	Base adjuster: works properly fully extends and closes
	

	Mast: joints secure, nuts and bolts secure, no visible signs of damage
	

	Gantry (overhead track systems) fixings secure, visible signs of damage
	

	Webbing strap (overhead track systems and some Liko hoists) signs of wear, visible damage
	

	Raising/lowering mechanism: works properly, fully raises/lowers 
	

	Battery: fully charged, securely fitted 
	

	Flex/remote control/plugs: no damage
	

	Spreader bar: good working order, not loose, hooks in place/not worn
	

	Pushing handles: secure no damage


	

	Emergency stop: in good working order


	

	Emergency lowering mechanism: good working order
	

	General condition: clean, no damage, padding in good condition
	

	Manufacturer’s instructions: available


	

	Detail action required 



	Name of person completing checklist 

Date 

	Line Manager 

Date 


